## Slide 1
The gamma decay from
high-lying states and giant resonances excited
in 208Pb and 90Zr
via (p, p’) reaction at 140 MeV bombarding energy
F.C.L. Crespi1, M. Kmiecik2,
A.Bracco1, F. Camera1, S. Leoni1, G. Benzoni1, S. Brambilla1, A. Giaz1, A. Mentana1,
S. Brambilla1, O. Wieland1 et al.,
A.Maj2, B. Wasilewska2, M. Ciemała2, M. Ziębliński2, B. Sowicki2,
J. Łukasik2, P. Pawłowski2, M. Krzysiek2, B. Fornal2 et al.
A. Krasznahorkay3, A. Tamii4, P. Napiórkowski5 et al.
1Università degli Studi di Milano and INFN, Milano, Italy
2Institute of Nuclear Physics Polish Academy of Sciences, Kraków, Poland
3ATOMKI, Debrecen, Hungary
4RCNP, Osaka, Japan
5SLCJ Warszawa, Poland
Proposal for CCB experiments
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
1/13
Notes: 1

## Slide 2
Outline
The Physics Case
  Gamma decay from Giant Resonances
Experimental setup
  Detection of the scattered protons and high energy gamma rays
Results of preliminary in-beam test experiments
Experimental requirements
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
2/13

## Slide 3
The Physics Case
The main goal is to study the gamma decay from excited states and giant resonances (mainly the giant quadrupole resonance, ISGQR) for which very little is known.
Measurements of the gamma-branching ratio to test the microscopic structure of ISGQR
We address the issue of gamma decay from excited GDR and GQR states in 208Pb and 90Zr
The gamma-decay width is a small fraction (≈ 10−3) of the total width
Photon decay faces the difficulty of small probability and yet it provides significant information, illuminating aspects of the GR different that those probed by nucleon decays.
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
3/13

## Slide 4
Microscopic model based on Skyrme functionals has been recently (*) developed
The gamma decay from GQR states
(*) M. Brenna, et al., Phys. Rev. C85, 014305 (2012)
(**) J.R. Beene et al., Phys. Rev. C39, 1307(1989)
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
4/13
It is clear the importance of measurements of gamma-decay because they are sensitive to the interaction
New measurements for the gamma-decay from the ISGQR: 208Pb (as a test case) and then for the nuclei 90Zr and 120Sn. For these nuclei calculations of the direct gamma decay of the type presented in the figure above (*) will be available

## Slide 5
  The cross section for the GQR excitation has been measured (*,**) and the optimal conditions for their excitation was found to be at around 8 degrees
  Bump of the giant quadrupole resonance characterized by a width of 4-5 MeV
  KRATTA detectors to measure the scattered protons (~2 MeV resolution)
The gamma decay from GQR states
(*) A. Shevchenko et al., PRL 93(2004)122501-1
(**) F.E. Bertrand et al., Phys. Rev. C 34, 46 (1986)
Up to now, because of the small yield, the gamma decay has been measured only in 208Pb for the IVGDR and ISGQR (***)
Ep = 200 MeV
Excitation Energy (MeV)
Counts (x102/keV)
(***) J.R. Beene et al., Phys. Rev. C39, 1307(1989)
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
5/13

## Slide 6
Experimental setup: detection of high energy gamma rays
The HECTOR large volume BaF2 scintillators array 
  good timing of BaF2 detectors of the HECTOR array (1-2 ns) will be exploited to define well the coincidence condition
  Neutron events will be rejected by time of flight measurements
  measurement of the fast and slow components of the BaF2 signals will allow discriminating gamma from charged particle events
  In addition, few LaBr3:Ce detectors will be used.
  In the future some clusters of PARIS array are planned to be added to the setup, in order to improve the gamma-ray energy efficiency and resolution.
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
6/13
Notes: HECTOR consists primarily of eight large single scintillator crystals l of Bariumdifluoride
(BaF,) of 145 mm in diameter and 175 mm in length encased in a
lightweight fiberglass housing. The crystals can contain a large fraction of the
electromagnetic shower from photons with energies up to 100 MeV. Each crystal is
coupled to a single fast photomultiplier tube (EM1 9823Q of diameter 125 mm
with a quartz window and selected on stability, rise time and energy resolution)
attached to an active voltage divider circuit [lo]. The detectors are operated at
distance of 30 cm from the target to the front face of the scintillator crystal. This
distance represents a compromise between the following requirements: largest
possible solid angle for gamma-ray detection, ability to suppress particle induced
events by a measurement of the time of flight from the target, and negligible
summing (i.e. probability for 2 gamma rays or 1 gamma ray and 1 neutron from the
same event to interact in the same detector within the pulse integration time). The
detectors are normally equipped with 6 mm Pb absorbers in order to eliminate
most of the low-energy gamma rays (EY < 1 MeV) from the target thereby further
reducing summing effects. In the experiments discussed here the detectors were
positioned mostly at angles = + 144 degree with respect to the beam

## Slide 7
KRATTA triple telescope array
  3 large area photodiodes and 2 CsI of 2.5 and 12.5 cm length
  ~2 MeV energy resolution
  Single detector front size: 3cm x 3cm
  each with angular opening of ca. 2 degrees, covered the solid angle range between 4.3 and 15 degrees
Experimental setup: detection of the scattered protons
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
7/13

## Slide 8
Experimental setup: in-beam test experiment (July 2016)**
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
8/13
New setup – target in the vacuum
HECTOR
LaBr3 3”×8”
KRATTA 24 modules
target
radial geometry 90 cm from the target
July 2016
**Slide courtesy of M. Kmiecik

## Slide 9
Preliminary Results of in-beam test experiments**
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
9/13
Demonstrated feasibility of gamma decay measurements in coincidence with scattered protons
2-dimensional matrix Gamma-ray energy (HECTOR) vs. Excitation energy (KRATTA)
  The data are very preliminary, as they are still under analysis
  Only small statistics accumulated
p @ 70 MeV + C (graphite 1 mm)
decay to g.s.
E* ~ 15 MeV
HECTOR
p @ 85 MeV + Pb
resemble the results of Beene et al.,
Phys. Rev. C39, 1307 (1989)
Notes: HECTOR consists primarily of eight large single scintillator crystals l of Bariumdifluoride
(BaF,) of 145 mm in diameter and 175 mm in length encased in a
lightweight fiberglass housing. The crystals can contain a large fraction of the
electromagnetic shower from photons with energies up to 100 MeV. Each crystal is
coupled to a single fast photomultiplier tube (EM1 9823Q of diameter 125 mm
with a quartz window and selected on stability, rise time and energy resolution)
attached to an active voltage divider circuit [lo]. The detectors are operated at
distance of 30 cm from the target to the front face of the scintillator crystal. This
distance represents a compromise between the following requirements: largest
possible solid angle for gamma-ray detection, ability to suppress particle induced
events by a measurement of the time of flight from the target, and negligible
summing (i.e. probability for 2 gamma rays or 1 gamma ray and 1 neutron from the
same event to interact in the same detector within the pulse integration time). The
detectors are normally equipped with 6 mm Pb absorbers in order to eliminate
most of the low-energy gamma rays (EY < 1 MeV) from the target thereby further
reducing summing effects. In the experiments discussed here the detectors were
positioned mostly at angles = + 144 degree with respect to the beam

## Slide 10
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
11/13
Preliminary Results of in-beam test experiments**
p @ 200 MeV + Pb (50 μm)
FRESCO calculations by Mateusz Krzysiek
HECTOR
LaBr3
~16 h of measurement
**Plots courtesy of M. Kmiecik
Notes: HECTOR consists primarily of eight large single scintillator crystals l of Bariumdifluoride
(BaF,) of 145 mm in diameter and 175 mm in length encased in a
lightweight fiberglass housing. The crystals can contain a large fraction of the
electromagnetic shower from photons with energies up to 100 MeV. Each crystal is
coupled to a single fast photomultiplier tube (EM1 9823Q of diameter 125 mm
with a quartz window and selected on stability, rise time and energy resolution)
attached to an active voltage divider circuit [lo]. The detectors are operated at
distance of 30 cm from the target to the front face of the scintillator crystal. This
distance represents a compromise between the following requirements: largest
possible solid angle for gamma-ray detection, ability to suppress particle induced
events by a measurement of the time of flight from the target, and negligible
summing (i.e. probability for 2 gamma rays or 1 gamma ray and 1 neutron from the
same event to interact in the same detector within the pulse integration time). The
detectors are normally equipped with 6 mm Pb absorbers in order to eliminate
most of the low-energy gamma rays (EY < 1 MeV) from the target thereby further
reducing summing effects. In the experiments discussed here the detectors were
positioned mostly at angles = + 144 degree with respect to the beam

## Slide 11
Experimental requirements
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
12/13
We propose to continue the study of the gamma decay from high-lying states excited via proton inelastic scattering, using the proton beam at CCB of IFJ PAN in Krakow. The main goal is to study the gamma decay from excited states and giant resonances (mainly the giant quadrupole resonance, GQR)
We plan to divide the experimental project into 2 parts, using the (p, p’γ) reactions at bombarding energy of 140 MeV and 2 targets: 208Pb and 90Zr.
  The gamma-rays will be measured by HECTOR BaF2 array with a few LaBr3:Ce detectors (large volume: 3.5”x8” and smaller volume: 2”x2”), while for scattered protons KRATTA telescopes will be employed.
140 MeV bombarding energy a good compromise between 230 MeV (larger contribution from the IVGDR) and 85 MeV (larger backrgound contribution due to (p,px) reactions)
We plan to use thinner, isotopically enriched 208Pb target, to minimize the angular straggling
Beam current ~1 nA
For the proposed case of 90Zr the cross section for ISGQR excitation is peaked in the same angular range as for the 208Pb case
In order to obtain better coincidence conditions plastic detectors will be placed in the front of KRATTA

## Slide 12
Fabio Crespi
CCB IAC Meeting, Krakow, August 26-27, 2016
13/13
Experimental requirements
We request 56 shifts (4 weeks with 2 shifts per day) in total: 4 shifts for calibrations using the 12C target, 26 shifts for the (p,p’g) run at 140 MeV with the 208Pb target, and 26 shifts for the run with the 90Zr target also at 140 MeV