Characterization of Segmented HPGe Detectors Using Pulse Shape Comparison Methods

F.C.L. Crespi a,b, V. Vandone a,b, F. Camera a,b, S. Brambilla b, B. Million b, S. Riboldi a,b and                          O. Wieland b .....

a Physics Department, University of Milan, Via Celoria 16, 20133 Milano, Italy

b INFN Sezione di Milano, Via Celoria 16, 20133 Milano, Italy

Abstract

Gamma ray tracking arrays composed of large volume segmented HPGe detectors like AGATA and GRETA will be used in experiments with radioactive ion beams. The gamma interactions are localized with a precision < 5 mm inside the detector by combined use of outer electrode segmentation and Pulse Shape Analysis (PSA). In order to properly perform the PSA it is fundamental to precisely (~mm) characterize the HPGe detector position response (i.e. associate the signal shape to each position inside the detector volume). This kind of information is presently extracted both experimentally and numerically. In previous works a new detector characterization method, the Pulse Shape Comparison based Scan (PSCS), has been presented. This technique enormously decreases the time consumption of the measurements. In this work we show the results of the PSCS applied to a large volume segmented HPGe detector from the AGATA array. The experimental data analyzed have been collected with the Liverpool University scanning system. Using two datasets with the collimation lines perpendicular one in respect to the other it has been possible to extract the position response of two segments in the front part of the detector. We performed the comparison of the signals obtained with the PSCS and those extracted with the standard coincidence scan method. This latter part of the work constitutes the final validation of the method. The variation of the signal shape as a function of the gamma interaction position (inside the 2 scanned segments) will be shown.