RS algorithm for 3D localization of  interactions in segmented HPGe detectors: tests with calculated and experimental signal basis.

F.C.L. Crespi a,b, V. Vandone a,b, F. Camera a,b, S. Brambilla b, B. Million b, S. Riboldi a,b and                          O. Wieland b

a Physics Department, University of Milan, Via Celoria 16, 20133 Milano, Italy

b INFN Sezione di Milano, Via Celoria 16, 20133 Milano, Italy

Abstract

In gamma spectroscopy experiments with radioactive ion beams the reconstruction of the gamma radiation path inside the detectors permits to correct the Doppler broadening and to suppress the background radiation not coming from the target position. Gamma ray tracking arrays like AGATA and GRETA are composed of position sensitive segmented HPGe detectors. In fact the gamma interaction localization with a precision of at least 5 mm is a fundamental step to perform the tracking. This is obtained with the combined use of detector electrode segmentation and Pulse Shape Analysis (PSA). In this work a generalized version of the Recursive Subtraction (RS) algorithm for 3D localization of the interactions is presented (named RS_3D). The RS_3D has been validated on simulated signals ant then applied to real signals from a 36-fold segmented AGATA asymmetric crystal, using both a calculated and an experimentally extracted signal basis. Comparing the results of RS_3D obtained with the two different bases it has been possible to evaluate the algorithm performances for interactions localization and also to check the consistency between the calculated signal basis and the real signals from the detector.