Response of AGATA segmented HPGe detectors to gamma-rays up to 15.1 MeV

F.C.L. Crespia, R. Avigoa, F. Cameraa, G. Benzonia, N. Blasia, S. Bottonia, A. Braccoa, S. Brambillaa, P. Casatia, F. Coniglioa, A. Corsia, A. Giaza, S. Leonia, B. Milliona, R, Nicolinia, L. Pellegria, V. Vandonea, O. Wielanda, S. Akkoyunf, A. Atacf, D. Bazzaccoc, M. Bellatoc, D. Bortolatoc, E. Caloreb, M. Ciemalae, E. Farneac, A. Gadead, A. Gottardoc, M. Kmiecike, A. Maje, D. Mengonic, C. Michelagnolic, D. Montanaric, D.R. Napolib, J. Nybergg, F. Recchiab, E. Sahinb, P.-A. Söderströmg, C.A.Urc, J.J. Valiente Dobonb

and The AGATA Collaboration

a Università degli Studi e INFN sezione di Milano, Via Celoria 16, 20133, Milano, Italy.

b INFN, Laboratori Nazionali di Legnaro, Legnaro, Italy.

c Università di Padova e INFN, sezione di Padova, Padova, Italy.

d IFIC, Valencia, Spain.

e The Niewodniczanski Institute of Nuclear Physics, PAN, Krakow, Poland.

f  Department of Physics, Faculty of Science, Ankara University, Ankara, Turkey.

g Department of Physics and Astronomy, Uppsala University, Uppsala, Sweden.

Abstract

In many in-beam gamma spectroscopy experiments the detection of high-energy gamma rays in the range up to 10-20 MeV is of primary importance. New generation high-resolution gamma-ray spectrometers like AGATA and GRETA are composed of position sensitive segmented HPGe detectors and provide a reconstruction of the gamma-ray tracks. The performance of AGATA detectors in this energy range has, however, never been studied in detail. A measurement of the response to 15.1 MeV gamma rays has therefore been performed using two HPGe triple clusters of the AGATA Demonstrator array, operating at LNL-INFN. This study represents a crucial test of the AGATA detectors for the measurement of high-energy gamma rays, in terms of detection efficiency, energy resolution, tracking and performance of the pulse shape analysis (PSA) algorithms.