## Slide 1
INTERNATIONAL CONFERENCE ON "Black holes, jets and outflows” Kathmandu, Nepal, October 2013.
Measurements of Ultra High Energy Cosmic Rays with the Pierre Auger Observatory
Lino Miramonti
Università degli Studi di Milano
and
Istituto Nazionale di Fisica Nucleare

## Slide 2
Outline
Ultra High Energy Cosmic Rays (UHECRs)
How to detect UHECRs?
The Pierre Auger Observatory
Results of the Pierre Auger Observatory

## Slide 3
Outline
Ultra High Energy Cosmic Rays (UHECRs)
How to detect UHECRs?
The Pierre Auger Observatory
Results of the Pierre Auger Observatory

## Slide 4
OPEN QUESTIONS:
Where and how these cosmic rays are accelerated to these energies
Which are the sources that generated these cosmic rays
The chemical composition is unknown
From a Particle Physics point of view:
UHE Cosmic Rays probe physics at energies out of reach of any man made accelerator
UHECRs: CRs with E> 1018 eV
Nearly uniform power-law spectrum E-γ:
  10 orders of magnitude in Energy
  32 orders of magnitude in flux

## Slide 5
Possible UHECR Sources: 2 scenarios
Top–Down Decay
(Physics Beyond the Standard Model)
  Decay of topological defects
  Monopoles Relics
  Supersymmetric particles
  Strongly interacting neutrinos
  Decay of massive new long lived particles
  Etc.
Experimental evidence:
anisotropy in arrival directions
Photons < ≈1%
Experimental evidence:
isotropy in arrival directions
Photons > ≈10%
Bottom-Up Acceleration
(Astrophysical Acceleration Mechanisms)
  UHECR’s are accelerated in extended objects or catastrophic events (supernova remnants, rotating neutron stars, AGNs, radio galaxies)
Now disfavored
from the measurement of the photon flux with the PAO

## Slide 6
propagation scenario
  the interaction with Cosmic Microwave Background (CBM)
  as forseen by Greisen, Zatsepin, Kuzmin in 1966 (the GZK cutoff)
  The Universe is opaque for protons with energy > 6 1019 eV
  “horizon” (p and nuclei) ≈100 Mpc (≈1020 eV )
source scenario
to the reach of the maximum energy in the celestial accelerators:
“source exhaustion” (i.e. maximum injection energy)
End to the cosmic ray spectrum?
Size of the observable Universe ≈ 4.000 MPc
Intermediate nuclei disappear at UHE: mostly p and Fe
GZK or Emax?
Before AUGER it wasn’t know if there were an end to the CR spectrum or not.
Now, we know (see later) that there is a suppression but we do not know its nature.
The suppression may be due to:

## Slide 7
Influence of the Magnetic Field on propagation
Above 1020 eV Δφ < 2° that is larger than the experimental resolution!
A window to Cosmic Rays Astronomy?

## Slide 8
Outline
Ultra High Energy Cosmic Rays (UHECRs)
How to detect UHECRs?
The Pierre Auger Observatory
Results of the Pierre Auger Observatory

## Slide 9
How to detect UHECRs?
Up to 1014 eV it is possible to detect CR directly putting detectors on balloons or satellites
For higher energy the flux is too poor and we have to study the showers (EAS) generated by primary CRs
  The UHECR flux is less than 1 particle per km2 per century
There are two main techniques to detect EAS from UHECRs:
A) To sample the EAS at ground with an Array of surface detectors (Lateral profile)
B) To detect the fluorescence light with Fluorescence telescopes (Longitudinal profile)

## Slide 10
The Surface Detector arrays samples the EAS at ground
- Time of arrival at each station
      Thanks to the time of arrival it is possible to deduce the arrival direction of primary cosmic ray.
- Number of particles
          From the number of secondary particles it is possible to infer the energy of primary cosmic ray.
    - Muon number and Pulse rise time
      Thanks to the number of muons and the study of the pulse rise time it is possible to measure the mass of primary cosmic ray.
Array of surface detectors (Lateral profile)
Scintillators or
Cerenkov water tanks

## Slide 11
Fluorescence telescopes (Longitudinal profile)
Secondary charged particles excite nitrogen molecules. The de-excitation process occurs in the UV (fluorescence)
The fluorescence technique allows to measure the ionization density of the EAS at different altitudes. This enables to detect the longitudinal development of the shower.

## Slide 12
The Pierre Auger Observatory
is an Hybrid detector that combines the two techniques.
Pros and Cons of two techniques
Array of surface detectors
Pros Duty cycle almost 100%
Cons Very strong dependence of nuclear interaction models (MonteCarlo simulations). Thus a big incertitude on the determination of the primary cosmic ray energy.
Fluorescence telescopes
Pros Less model dependent
Cons Duty cycle of about 10-15 % (clear moonless nights)

## Slide 13
Outline
Ultra High Energy Cosmic Rays (UHECRs)
How to detect UHECRs?
The Pierre Auger Observatory
Results of the Pierre Auger Observatory

## Slide 14
The Pierre Auger Observatory
1600 water Cherenkov tanks (1.5 km distance in a triangular grid) = 3000 km2
24 fluorescence telescopes stations (4 building)
1400m a.s.l.
latitude: 35°
Physics data since 2004, inauguration November 2008

## Slide 16
The reconstruction of arrival direction of primary cosmic rays is obtained by fitting the arrival times sequence of particles in shower front.
For “SD only” reconstruction the angular resolution is:
Better than 2.2° | 3-fold events | E < 4 EeV
Better than 1.7° | 4-fold events | 3 < E < 10 EeV
Better than 1.4° | For higher multiplicity | E > 8 EeV
SD geometry reconstruction

## Slide 17
SD energy determination
Energy estimator: S(1000) that is the particle density at 1000 m from shower axis
S(1000) is converted into S38 that is the S(1000) that a shower would have produced if it had arrived with a zenith angle of 38°
Attenuation
curve (CIC)
VEM : Vertical Equivalent Muon
The SD is full efficient from 3 1018 eV
Distance from the core

## Slide 18
24 Fluorescence telescopes in 4 buildings:
Mirrors: 3.6 m x 3.6 m with field of view 30° x 30° from 1° to 31° in elevation.
Each telescope is equipped with 440 photomultipliers.
Diaphragm
and
Optical Filter
Camera
(440 PMts)
Mirror
(13 m2)

## Slide 19
Shower Detector Plane (SDP) using the directions of the triggered pixels
FD geometry reconstruction
Time Fit
In the PAO the reconstruction of direction is performed in hybrid mode (see later)

## Slide 20
FD energy determination
Longitudinal profile
The number of photons Nγ(λ) is proportional to the deposited Energy Edep (from laboratory measurements – Fluorescence yield)
Geometry – n° of photons in the FD FOV depend on A/Ri2
Atmosphere– n° of photons at diaphragm depend on T(λ)
The ADC count depend on Detector Calibration
Facilities in the field to monitor the transparency of the air and the cloud coverage

## Slide 21
The Hybrid Concept
Accurate energy and direction measurement
and
Mass composition studies in a complementary way
SD and FD combined in the hybrid mode
(i.e. FD + at least 1 SD station)

## Slide 22
The Hybrid Concept
Energy Calibration for SD events using golden hybrid data (FD + ≥ 3 SD stations)
S38: SD signal at 1000m from the core if the shower had θ = 38°
Using hybrid events, the SD energy estimator S38 is calibrated without relying on Monte Carlo simulation with an accuracy of 14%
Valerio Verzi – ICRC2013
Thanks to hybrid mode:
The Hybrid angular resolution is ≈ 0.6°
and
The core resolution is ≈ 50 meters
Geometry Reconstruction

## Slide 23
The Pierre Auger Enhancements
The transition from galactic to extra-galactic cosmic rays may occur between 1017 eV and the ankle (4 1018 eV).
A precise measurement of the flux at energies above 1017 eV is important for discriminating between different theoretical models
The SD array is fully efficient at energies above 3 1018 eV
49 additional detectors with 750 m spacing have been nested within the 1500 m array to cover an area of about 25 km2: INFILL has a full efficiency above 3 1017 eV
HEAT High Elevation Auger Telescopes (near Coihuecuo)
Field of view from 30° to 60°

## Slide 24
Outline
Ultra High Energy Cosmic Rays (UHECRs)
How to detect UHECRs?
The Pierre Auger Observatory
Results of the Pierre Auger Observatory

## Slide 25
The measurement of the energy spectrum of cosmic rays above 3 1017 eV
Integrated exposure of the different detectors at the Pierre Auger Observatory as a function of energy.
We have to distinguish between vertical events (θ < 60°) and inclined events (62° ≤ θ < 80°)
Correlation between the different energy estimators S38, S35 and N19 and the energy determined by FD.
Energy estimators: S38 and S35
The equivalent signal at median zenith angle of 38° (35°) is used to infer the energy for the 1500 m (750 m) array
Energy estimator for inclined air-showers: N19
Inclined air-showers are characterized by the dominance of secondary muons at ground, as the electromagnetic component is largely absorbed in the large atmospheric depth traversed by the shower.
The reconstruction is based on the estimation of the relative muon content N19 with respect to a simulated proton shower with energy 1019 eV
EXPOSURE
CALIBRATION
Combining the SD regular array data and the INFILL array data (plus the hybrid ones) it is possible to obtain the measurement of the cosmic ray flux starting from 3 1017 eV.
The dataset extends from 1 January 2004 to 31 December 2012.
The exposure and the calibration are different for the different data sets

## Slide 26
The measurement of the energy spectrum of cosmic rays above 3 1017 eV
The numbers give the total number of events inside each bin. The last three arrows represent upper limits at 84% C.L.
Combined energy spectrum of UHECRs as measured at the Pierre Auger Observatory.
To characterize the spectral features, data are described with a power law below the ankle
and a power law with smooth suppression above
γ1, γ2 are the spectral indices below/above the ankle at Ea.
E½ is the energy at which the flux has dropped to half of its peak value before the suppression, the steepness of which is described with log10Wc.
A. Schulz @ ICRC2013
The ankle has been clearly seen
The suppression in the flux of UHECRs has been firmly established with (>20 σ)
130000 events

## Slide 27
The measurements of the depth of shower maximum for the study of mass composition
Superposition principle:
Iron shower of energy E “is equal to” 56 proton showers of E/56
• proton showers penetrate deeper  higher Xmax
• iron showers have less fluctuations  smaller RMS(Xmax)
Mass determination is mandatory to reach reliable conclusion on energy spectrum, sources and acceleration
Data selection and Quality Cuts
There are several ways to study the composition of the primary cosmic rays:
a) Xmax measurement
b) muon production depth
c) rise-time asymmetry measurements
The best way (smallest systematic uncertainties) is to measure the Xmax distribution using fluorescence telescopes in hybrid mode.

## Slide 28
The measurements of the depth of shower maximum for the study of mass composition
Vitor de Souza @ ICRC2013
At low energy data is compatible with a significant fraction of protons
Break on the elongation rate slope seems to indicate a change in composition towards a predominance of heavier nuclei at higher energies
< Xmax > and RMS(Xmax) show similar trends towards heavy-like showers at high energies
Composition becomes heavier with increasing E
Ankle
Cut off

## Slide 29
Anisotropy studies
If the observed cosmic ray flux suppression is interpreted in term of GZK-effect than the closest sources of UHECRs are situated within the GZK Volume of dGZK < 100 Mpc (Within the GZK VOLUME the matter distribution in the Universe is inhomogeneous, and so must be the distribution of the UHECR sources)
If propagation of UHECRs at these distances is quasi-rectilinear
dGZK
Then anisotropies would be expected.

## Slide 30
In 2007, the Pierre Auger Collaboration reported directional correlations of UHECRs at E>55 EeV with AGN from the Véron-Cetty-Véron catalog within 75 Mpc on an angular scale of 3.1° at 99% CL.
From the 27 events collected up to July 2007 with energy greater than 55 EeV
(Period I) the firsts 14 events were used as exploratory scan in order to determine the optimal parameters.
(Period II) among the remaining 13 events 9 events correlating with AGNs (to be compared with 2.7 events if they had been isotropic) corresponding to a correlation of (69+13-11)%.
Being the chance correlation piso= 21% the chance probability of observing such a correlation is 1.7 10-3.
July 2007
27 events
The latest update including data up to June 2011 which yields a total of 28 AGNs (to be compared with 17.6 events if they had been isotropic) of 84 events (Period II+III+IV) shows a correlation of (33±5)%.
The chance probability of observing such a correlation remain below 1%.
Inconclusive evidence with current statistics

## Slide 31
Cut off
The Fluorescence Detector has a very low statistic and “sees” only the e.m. component of the shower.
The Surface Detector is not optimized to study the mass composition:
Rise-time measurements
Mass determination is mandatory to reach reliable conclusion on energy spectrum, sources and acceleration
The e.m. component and the muonic component have to measured separately!
?
Proton Cosmic Ray Astronomy

## Slide 32
MARTA
Muon Auger RPC for Tank Array
Proposal for a Segmented Water Cherenkov Array
Plastic Scintillators such as AMIGA or MuScint
Muon-E.M. Detectors
The Collaboration is working to chose the best solution in term of performances and cost.
There are several solutions to measure separately the e.m. component from the muonic component.

## Slide 33
Thanks you

## Slide 38
Upper Limits to the PHOT0N FLUX